## Bid Bundle
| Type of Filter | Filter Size | Efficiency No. | MERV | Estimated Quantity per Year | CURRENT FILTER BEING USED | PROPOSED MANUFACTURER AND MODEL | UNIT COST | TOTAL COST | NORMAL DELIVERY (DAYS)
ELECTROSTATIC | Electrostatic Filters should be disposable.
| Electrostatic | 15" X 27.5" |  | N/A | 380 | Electrostatic filters currently used are all 3M High Air Flow (HAF) Dri-Eaz electrostatic air cleaner filter (or equal)
| Electrostatic | 11" X 23.75" |  | N/A | 324
| Electrostatic | 15" X 26" |  | N/A | 190
| Electrostatic | 13.25" X 19.25" |  | N/A | 145
| Electrostatic | 15.5" X 19" |  | N/A | 120
BOX FILTERS
ARE REQUIRED TO HAVE 4 HOLES TO ATTACH THE RETAINING SPRINGS
PREFILTER CLIPS ARE REQUIRED
| Filter Box DH | 24 X 24 X 12 |  | 15 | 440
| Filter Box DH | 12 X 24 X 12 |  | 15 | 102
LINK PANEL
| Filter Link Panel Green/White | 24 X 24 |  |  | 350
| Filter Link Panel | 24 X 144 | ER30 |  | 144
FILTER MEDIA
| Filter Media | 18" X 18" X 1" |  | 4 | 453
| Filter Media | 12" X 25" X 1" |  | 4 | 322
| Filter Media | 9" X 23" X 1" |  | 4 | 144
| Filter Media | 14" X 24" X 1" |  | 4 | 143
| Filter Media | 20" X 20" X 1" |  | 4 | 129
| Filter Media | 10" X 36" X 1" |  | 4 | 128
BAG TYPE FILTER
SPEC 630, RIGID, METAL SUPPORT, DISPOSABLE, SYNTHETIC OR GLASS FIBER MEDIA ,
EXTENDED SURFACE AREA, COMMERCIAL GRADE, PERFORMANCE RATING BASED ON ASHRAE 52-76 90/95 %
EFFICIENCY 90%-95%
| Filter Bag | 24 X 24 X 12 | ER 95 | 15 | 1815
| Filter Bag | 24 X 24 X 15 | ER 95 | 15 | 1266
| Filter Bag | 12 X 24 X 12 | ER 95 | 15 | 517
| Filter Bag | 20 X 24 X 15 |  | 15 | 347
| Filter Bag | 20 X 20 X 15 | ER 95 | 15 | 115
FLAT PANEL FILTERS, DISPOSIBLE FOR FURNACE AND AIR CONDITIONER USE
GLASS FIBER MEDIA, HEAVY DUTY COMMERCIAL GRADE, ADHESIVE COATED,
CARDBOARD FRAME, METAL GRID ON BOTH SIDES, SHALL
HAVE METAL STIFFNER BAR ON AIR LEAVING SIDE OF FILTER, MEDIA
AND METAL GRIDS BONDED TO FRAME, PERFORMANCE RATING
BASED ON ASHRAE 52-76, AVERAGE SYNTHETIC DUST WEIGHT
ARRESTANCE 72% MINIMUM FOR 1" AND 81% MINIMUM FOR 2".
| Flat Panel | 12 X 18 X 1 | ER20 |  | 291 | FLANDERS #10255.011218
| Flat Panel | 12 X 12 X 1 | ER20 |  | 154 | FLANDERS #10255.011212
| Flat Panel | 8 X 47 1/2 X 1 | ER20 |  | 152 | FLANDERS #10255DE0108475
| Flat Panel | 22 X 22 X 1 | ER20 |  | 141 | AAF #223-839-251
| Flat Panel | 10 X 10 X 1 | ER20 |  | 138 | FLANDERS #10255.011010
| Flat Panel | 12 X 24 X 1 | ER20 |  | 137 | FLANDERS #10255.011224
| Flat Panel | 24 X 24 X 1 | ER20 |  | 127 | FLANDERS #10255.012424
| Flat Panel | 8 X 35 X 1 | ER20 |  | 123 | FLANDERS #10255D010835
| Flat Panel | 20 X 25 X 1 | ER20 |  | 108 | FLANDERS #10255.012025
MINI PLEAT FILTERS
| Mini Pleat w/ Gasket, 3M | 24 X 24 X 2 |  | A8 | 79 |  | E294
| Mini Pleats | 16 x 20 x 4 |  | 14 | 72
PLEATED FILTERS, DISPOSABLE
FIBER , SYNTHETIC, OR BLEND OF SYNTHETIC AND NATURAL FIBERS, COMMERCIAL GRADE, PERFORMANCE
RATING BASED ON ASHRAE52-76, EFFICIENCY 25%-30%, ARRESTANCE 90%-92%
PLEATED, EXTENDED SURFACE AREA, PANEL TYPE, MEDIA MAY BE GLASS, NATURAL
| Pleated | 24 X 24 X 2 |  | 8 | 12791
| Pleated | 16 X 25 X 2 |  | 8 | 4485
| Pleated | 20 x 20 x 2 |  | 8 | 4066
| Pleated | 20 X 25 X 2 |  | 8 | 3647
| Pleated | 12 x 24 x 2 |  | 8 | 3525
| Pleated | 16 x 20 x 2 |  | 8 | 3080
| Pleated | 24 X 24 X 4 |  | 11 | 2286
| Pleated | 20 x 24 x 2 |  | 8 | 1936
| Pleated | 24 x 24 x 22 |  | 13 | 1104
| Pleated | 18 x 24 x 2 |  | 8 | 986
| Pleated | 20 X 20 X 1 |  | 8 | 904
| Pleated | 20 x 24 x 4 |  | 8 | 793
| Pleated | 8 7/8 x 33 5/8 x 1 |  | 8 | 456
| Pleated | 20 X 25 X 4 |  | 11 | 336
| Pleated | 25 X 25 X 2 |  | 8 | 321
| Pleated | 20 X 20 X 4 |  | 11 | 320
| Pleated | 16 x 24 x 4 |  | 11 | 288
| Pleated | 16 X 24 X 2 |  | 8 | 239
| Pleated | 12 X 24 X 4 |  | 8 | 214
| Pleated | 21 X 21 X 1 |  | 8 | 172
| Pleated | 16 X 25 X 4 |  | 11 | 171
| Pleated | 12 x 20 x 2 |  | 8 | 158
| Pleated | 16 x 25 x 1 |  | 8 | 148
| Pleated | 16 X 30 X 1 |  | 8 | 120
| Pleated | 24 x 12 x 4 |  | 8 | 108
V-BANK | V-Bank Filter w/ Gasket, 3M | 24 X 24 X 12 | E733 | A14 | 87