## Additional Filters
|  | TYPE OF FILTER | FILTER SIZE | EFFICIENCY NO. | MERV | Estimated Quantity per Year | Current Filter Being Used | PROPOSED MANUFACTURER AND MODEL | UNIT COST | TOTAL COST | NORMAL DELIVERY (DAYS)
ELECTROSTATIC |  | Electrostatic | 12" X 24" |  | N/A | 89 | Electrostatic Filters currently used are all 3M High Air Flow (HAF) Dri-Eaz electrostatic air cleaner filter (or equal)
Disposable |  | Electrostatic | 12" X 24" |  | N/A | 58
|  | Electrostatic | 15.2" X 26.75" |  | N/A | 50
|  | Electrostatic | 19" X 32" |  | N/A | 20
|  | Electrostatic | 11" X 23.75" |  | N/A | 18
|  | Electrostatic | 23.5" X 17.5" |  | N/A | 12
|  | Electrostatic | 15.5" X 15.5" |  | N/A | 12
|  | Electrostatic | 12" X 22" |  | N/A | 10
|  | Electrostatic | 20" x 24" |  | N/A | 8
|  | Electrostatic | 19.5" X 19.5" |  | N/A | 5
|  | Electrostatic | 11.5" X 23.5" |  | N/A | 5
|  | Electrostatic | 17.5" X 19.5" |  | N/A | 4
|  | Electrostatic | 18.75" X 18.75" |  | N/A | 4
|  | Electrostatic | 19" X 24" |  | N/A | 3
|  | Electrostatic | 15.5" X 24.5" |  | N/A | 3
|  | Electrostatic | 17.5" X 17.5" |  | N/A | 3
|  | Electrostatic | 12" X 24" |  | N/A | 2
|  | Electrostatic | 23.25" X 11.5" |  | N/A | 2
|  | Electrostatic | 12" X 30" |  | N/A | 1
|  | Electrostatic | 11.5" X 17.5" |  | N/A | 1
|  | Electrostatic | 19.75" X 19.5" |  | N/A | 1
|  | Electrostatic | 22" X 22" |  | N/A | 1
BLOWER COILS
|  | Blower Coils | 20 x 20 x 2 |  | 8 | 48 | Farr 30/30 pleat Panel Filter
FAN COIL
| N/A | Fan Coil | 8-7/8" x 61-1/8 " x 1" |  | 8 | 1 | An-Cell 30 custom maid pleat
BOX FILTERS
ARE REQUIRED TO HAVE 4 HOLES TO ATTACH THE RETAINING SPRINGS
PREFILTER CLIPS ARE REQUIRED
|  | Filter Box SH | 24 X 24 X 12 |  | 15 | 73
|  | Filter Box | 24 X 24 X 12 |  | 11 | 39
|  | Filter Box SH | 24 X 24 X 4 | ER 95 | 15 | 36
|  | Filter Box SH | 20 X 20 X 4 |  |  | 31
|  | Filter Box SH | 12 X 24 X 12 | ER 95 | 15 | 27
|  | Filter Box SH | 20 X 24 X 4 |  |  | 27
|  | Filter Box SH | 20 X 24 X 12 | ER 85 | 14 | 24
|  | Filter Box SH | 12 X 24 X 12 | ER 95 | 12 | 22
|  | Filter Box SH | 20 X 20 X 12 | ER 95 | 15 | 22
|  | Filter Box | 24 X 12 X 12 |  | 11 | 19
|  | Filter Box SH | 20 X 24 X 12 | ER 95 | 15 | 6
|  | Filter Box SH Vericell | 12 X 24 X 4 |  | 15 | 6
|  | Filter Box | 16 X 20 X 12 |  | 13 | 3
|  | Filter Box | 24 X 12 X 12 |  | 11 | 3
|  | Filter Box | 24 X 20 X 12 |  | 11 | 3
|  | Filter Box | 24 X 24 X 4 |  | 15 | 2
|  | Filter Box DH | 20 X 24 X 12 |  | 15 | 1
LINK/SPECIAL |  | Filter Link Panel Green/White | 12 X 24 |  |  | 86
|  | Filter Link Panel | 24 X 96 | ER30 |  | 38
|  | Filter Astrocel | 23-3/8 X 23-3/8 X 11-1/2 |  |  | 30
|  | Filter Link Panel | 20 X 120 | ER30 |  | 13
|  | Filter Pleated Aprilaire 213 |  |  |  | 5
|  | Filter Pleated Charcoal | 14 X 20 X 1 |  |  | 2
FILTER MEDIA |  | Filter Media | 20" X 20" X 2" |  | 4 | 83
|  | Filter Media | 16" X 16" X 1" |  | 4 | 79
|  | Filter Media | 12" X 29" X 1" |  | 4 | 64
|  | Filter Media | 14" X 14" X 1" |  | 4 | 47
|  | Filter Media | 9" X 27" X 1" |  | 4 | 43
|  | Filter Media | 12" X 40" X 1" |  | 4 | 40
|  | Filter Media | 12" X 24" X 1" |  | 4 | 37
|  | Filter Media | 14" X 20" X 1" |  | 4 | 35
|  | Filter Media | 16" X 20" X 1" |  | 4 | 35
|  | Filter Media | 20" X 25" X 2" |  | 4 | 29
|  | Filter Media | 12" X 38" X 1" |  | 4 | 22
|  | Filter Media | 25" X 16" X 2" |  | 4 | 21
|  | Filter Media | 16" X 25" X 2" |  | 4 | 18
|  | Filter Media | 8" X 20" X 1" |  | 4 | 16
|  | Filter Media | 12" X 20" X 1" |  | 4 | 11
|  | Filter Media | 24" X 24" X 1" |  | 4 | 10
|  | Filter Media | 12" X 24" X 2" |  | 4 | 9
|  | Filter Media | 20" X 24" X 2" |  | 4 | 9
|  | Filter Media | 24" X 12" X 2" |  | 4 | 9
|  | Filter Media | 24" X 24" X 2" |  | 4 | 9
|  | Filter Media | 20" X 16" X 2" |  | 4 | 8
|  | Filter Media | 41" X 13" X 1" |  | 4 | 8
|  | Filter Media | 20" X 16" X 1" |  | 4 | 6
|  | Filter Media | 16" X 20" X 2" |  | 4 | 5
|  | Filter Media | 20" X 25" X 1" |  | 4 | 5
|  | Filter Media | 24" X 20" X 2" |  | 4 | 5
|  | Filter Media | 12" X 22" X 1" |  | 4 | 4
|  | Filter Media | 13" X 20" X 2" |  | 4 | 4
|  | Filter Media | 18" X 20" X 1" |  | 4 | 4
|  | Filter Media | 24" X 35" X 1" |  | 4 | 4
|  | Filter Media | 16" X 18" X 2" |  | 4 | 3
|  | Filter Media | 12" X 36" X 1" |  | 4 | 2
|  | Filter Media | 16" X 10" X 2" |  | 4 | 2
|  | Filter Media | 20" X 24"X 1" |  | 4 | 2
|  | Filter Media | 20" X 39" X 1" |  | 4 | 2
|  | Filter Media | 21" X 23" X 1" |  | 4 | 2
|  | Filter Media | 22" X 22" X 2" |  | 4 | 2
|  | Filter Media | 24.5" X 25" X 2" |  | 4 | 2
|  | Filter Media | 25" X 16" X 1" |  | 4 | 2
|  | Filter Media | 12" X 14" X 1" |  | 4 | 1
|  | Filter Media | 14" X 19" X 1" |  | 4 | 1
|  | Filter Media | 15" X 29" X 1" |  | 4 | 1
|  | Filter Media | 18" X 18" X 2" |  | 4 | 1
|  | Filter Media | 19.5" X 21" X 1" |  | 4 | 1
|  | Filter Media | 19.5" X 25" X 2" |  | 4 | 1
|  | Filter Media | 20" X 15" X 1" |  | 4 | 1
|  | Filter Media | 20" X 30" X 1" |  | 4 | 1
|  | Filter Media | 28" X 11" X 1" |  | 4 | 1
|  | Filter Media | 48" X 24" X 1" |  | 4 | 1
|  | Filter Media | 9" X 40" X 1" |  | 4 | 1
MEDIA ROLL FILTER, ROOM AIR CONDITIONER
DISPOSABLE, GLASS FIBERS, RIGID MEDIA, NO FRAME REQUIRED,
STANDARD GRADE, 3/8"-1/2" THICK (NOMINAL)
| 18336 | Filter Media Roll Blue/White | 72 x 90 x 1 |  |  | 13
BAG TYPE FILTER
SPEC 630, RIGID, METAL SUPPORT, DISPOSABLE, SYNTHETIC OR GLASS FIBER MEDIA ,
EXTENDED SURFACE AREA, COMMERCIAL GRADE, PERFORMANCE RATING BASED ON ASHRAE 52-76 90/95 %
EFFICIENCY 90%-95% |  | No. of Pockets - 4
|  | Filter Bag | 12 X 24 X 15 |  | 15 | 92
|  | Filter Bag | 24 X 24 X 12 |  | 11 | 18
|  | Filter Bag | 20 X 25 X 12 |  | 15 | 12
|  | Filter Bag | 20 X 24 X 12 |  | 15 | 8
FLAT PANEL FILTERS, DISPOSIBLE FOR FURNACE AND AIR CONDITIONER USE
GLASS FIBER MEDIA, HEAVY DUTY COMMERCIAL GRADE, ADHESIVE COATED,
CARDBOARD FRAME, METAL GRID ON BOTH SIDES, SHALL
HAVE METAL STIFFNER BAR ON AIR LEAVING SIDE OF FILTER, MEDIA
AND METAL GRIDS BONDED TO FRAME, PERFORMANCE RATING
BASED ON ASHRAE 52-76, AVERAGE SYNTHETIC DUST WEIGHT
ARRESTANCE 72% MINIMUM FOR 1" AND 81% MINIMUM FOR 2".
|  | Flat Panel | 16 X 20 X 1 | ER20 |  | 74 | AAF #223-500-251
|  | Flat Panel | 23 X 47 X 1 | ER20 |  | 58 | AAF #223-21-23A47A
|  | Flat Panel | 15 1/2 X 24 1/2 X 2 | ER20 |  | 56 | FLANDERS #10255E02155245
|  | Flat Panel | 10 X 30 X 1 | ER20 |  | 51 | AAF# 223-214-251
|  | Flat Panel | 15 1/2 X 33 X 1 | ER20 |  | 44 | AAF #223-21-15E33A
|  | Flat Panel | 10 X 22 X 1 | ER20 |  | 42 | AAF 223-21-10A22A
|  | Flat Panel | 17 3/4 X 29 3/4 X 1 | ER20 |  | 42 | AAF #223-21-17G29G
|  | Flat Panel | 9 X 30 X 1 | ER20 |  | 35 | FLANDERS #10255.010930
|  | Flat Panel | 12 X 30 X 1 | ER20 |  | 33 | FLANDERS #10255.01123
|  | Flat Panel | 17 7/8 X 29 5/8 X 1 | ER20 |  | 31 | FLANDERS #10255.011787529625
|  | Flat Panel | 8 X 19-1/2 X 1 | ER20 |  | 30 | AAF# 223-21-08A19E
|  | Flat Panel | 17 X 22 X 1 | ER20 |  | 29 | FLANDERS #10255.011722
|  | Flat Panel | 18 X 20 X 1 | ER20 |  | 26 | FLANDERS #10255.011820
|  | Flat Panel | 20 X 30 X 1 | ER20 |  | 26 | AAF #223-716-251
|  | Flat Panel | 22 X 24 X 1 | ER20 |  | 26 | AAF #223-21-22A24A
|  | Flat Panel | 8 3/4 X 22 1/2 X 1 | ER20 |  | 26 | AAF #223-21-08G22E
|  | Flat Panel | 16 X 22 X 1 | ER20 |  | 24 | FLANDERS #10255.011622
|  | Flat Panel | 18 X 30 X 1 | ER20 |  | 24 | FLANDERS #10255.011830
|  | Flat Panel | 8 X 12 X 1 | ER20 |  | 24 | AAF #223-21-08A12A
|  | Flat Panel | 10 X 20 X 1 | ER20 |  | 23 | FLANDERS #10255.01102
|  | Flat Panel | 20 X 24 X 1 | ER20 |  | 23 | FLANDERS #10255.012024
|  | Flat Panel | 15 X 16 X 2 | ER20 |  | 22 | FLANDERS #10055.021516
|  | Flat Panel | 12 X 16 X 1 | ER20 |  | 21 | AAF #223-308-251
|  | Flat Panel | 14 X 14 X 1 | ER20 |  | 21 | AAF #223-379-251
|  | Flat Panel | 14 X 20 X 1 | ER20 |  | 21 | FLANDERS #10255.011420
|  | Flat Panel | 5 X 9 X 1 | ER20 |  | 19 | FLANDERS #10255.010509
|  | Flat Panel | 16 X 16 X 2 | ER20 |  | 18 | AAF #223-448-252
|  | Flat Panel | 8 X 57 1/2 X 1/2 | ER20 |  | 18 | AAF #229-425-08A57E
|  | Flat Panel | 9 X 30-5/8 X 1 |  |  | 18 | PRECISIONAIRE 11255.01093058
|  | Flat Panel | 9 1/2 X 35 X 1 | ER20 |  | 17 | AAF #223-21-09E35A
|  | Flat Panel | 28 X 29 X 2 | ER20 |  | 16 | AAF #223-22-28A29A
|  | Flat Panel | 15 1/2 X 15-1/2 X 1 | ER20 |  | 16 | AAF #223-21-15E15E
|  | Flat Panel | 14 X 25 X 1 | ER20 |  | 13 | AAF #223-375-251
|  | Flat Panel | 15 1/2 X 16 1/2 X 2 | ER20 |  | 13 | AAF #172-02-15E16E
|  | Flat Panel | 10 X 16 X 1 | ER20 |  | 12 | PRECISIONAIRE 11255.011016
|  | Flat Panel | 9 7/8 X 20 7/8 X 1 | ER20 |  | 12 | AAF #223-21-09H20H
|  | Flat Panel | 9 7/8 X 35 7/8 X 1 | ER20 |  | 12 | AAF #223-21-09H35H
|  | Flat Panel | 10 X 36 X 1 | ER20 |  | 12 | AAF #223-21-10A36A
|  | Flat Panel | 14 X 18 X 1 | ER20 |  | 12 | FLANDERS #10255.011418
|  | Flat Panel | 15 1/2 X 25 X 1 | ER20 |  | 12 | AAF #223-21-15E25A
|  | Flat Panel | 16 X 30 X 1 | ER20 |  | 12 | FLANDERS #10255.011630
|  | Flat Panel | 16 X 32 X 1 | ER20 |  | 12 | AAF #223-21-16A32A
|  | Flat Panel | 19 X 20 X 1 | ER20 |  | 12 | AAF #223-21-19A20A
|  | Flat Panel | 7 3/4 X 41 3/4 X 1 | ER20 |  | 12 | AAF #223-21-07G41G
|  | Flat Panel | 8 X 8 X 1 | ER20 |  | 12 | AAF #223-21-08A08A
|  | Flat Panel | 9 7/8 X 44 X 1 | ER20 |  | 12 | AAF #223-21-09H44A
|  | Flat Panel | 10 X 24 X 1 | ER20 |  | 11 | AAF #223-208-251
|  | Flat Panel | 9 7/8 X 59 7/8 X 1 | ER20 |  | 10 | AAF #223-21-09H59H
|  | Flat Panel | 15 X 20 X 2 | ER20 |  | 9 | FLANDERS #10255.02152
|  | Flat Panel | 12 X 20 X 1 | ER20 |  | 8 | FLANDERS #10255.011220
|  | Flat Panel | 16 X 24 X 1 | ER20 |  | 8 | FLANDERS #10255.011624
|  | Flat Panel | 18 X 24 X 1 | ER20 |  | 8 | AAF #223-635-251
|  | Flat Panel | 22 X 29 X 2 | ER20 |  | 8 | FLANDERS #10255.022229
|  | Flat Panel | 29 1/2 X 21 X 2 | ER20 |  | 8 | AAF #223-22-21A29E
|  | Flat Panel | 12 3/4 X 32 3/4 X 1 | ER20 |  | 7 | AAF #223-21-12G32G
|  | Flat Panel | 15 1/2 X 24 X 1 | ER20 |  | 7 | AAF #223-21-15E24A
|  | Flat Panel | 15 X 30 X 1 | ER20 |  | 7 | AAF #223-596-251
|  | Flat Panel | 8 X 26 X 1 | ER20 |  | 6 | AAF# 223-21-08A26A
|  | Flat Panel | 8 X 44 X 1/2 | ER20 |  | 6 | AAF #223-25-08A44A
|  | Flat Panel | 9 7/8 X 26 7/8 X 1 | ER20 |  | 6 | AAF #223-21-09H26H
|  | Flat Panel | 9 X 19 X 1 | ER20 |  | 6 | AAF #223-21-09A19A
|  | Flat Panel | 10 X 18 X 1 | ER20 |  | 6 | AAF #223-21-10A18A
|  | Flat Panel | 10 X 22 X 1/2 | ER20 |  | 6 | AAF #223-25-10A22A
|  | Flat Panel | 12 X 30 X 2 | ER20 |  | 6 | AAF #223-22-12A30A
|  | Flat Panel | 18 X 24 X 2 | ER20 |  | 5 | AAF #223-635-252
|  | Flat Panel | 9 X 14 X 1 | ER20 |  | 5 | AAF #223-21-09A14A
|  | Flat Panel | 17 X 35 X 1 | ER20 |  | 5 | AAF# 223-21-17A35A
|  | Flat Panel | 8 1/2 X 18 1/2 X 1 | ER20 |  | 5 | AAF #223-21-08E18E
|  | Flat Panel | 15 3/4 X 33 X 1 | ER20 |  | 4 | AAF# 223-21-15G33A
|  | Flat Panel | 25 X 22 X 1 | ER20 |  | 4 | AAF #223-21-22A25A
|  | Flat Panel | 8 X 43 X 1 | ER20 |  | 4 | AAF #223-21-07642G
|  | Flat Panel | 10 X 41 1/4 X 1/2 | ER20 |  | 4 | AAF #223-25-10A41C
|  | Flat Panel | 10 X 42 X 1/2 | ER20 |  | 4 | AAF# 223-25-10A42A
|  | Flat Panel | 14 X 16 X 1 | ER20 |  | 4 | AAF #223-21-14A16A
|  | Flat Panel | 14 X 30 X 1 | ER20 |  | 4 | AAF #223-410-251
|  | Flat Panel | 21 X 21 X 1/2 | ER20 |  | 4 | AAF #223-25-21A21A
|  | Flat Panel | 7 1/2 X 35 X 1 | ER20 |  | 4 | AAF #223-21-07E35A
|  | Flat Panel | 9 7/8 X 18 X 1 | ER20 |  | 4 | AAF #223-21-09H18A
|  | Flat Panel | 9 X 20 X 1 | ER20 |  | 4 | PRECISIONAIRE 11255.010920
|  | Flat Panel | 18 X 25 X 1 | ER20 |  | 3 | AAF #223-631-251
|  | Flat Panel | 22 X 22 X 2 | ER20 |  | 3 | AAF #223-22-22A22A
|  | Flat Panel | 8 1/4 X 32 X 1 | ER20 |  | 3 | AAF# 223-21-08C32A
|  | Flat Panel | 10 X 30 X 1/2 | ER20 |  | 3 | AAF #223-25-10A30A
|  | Flat Panel | 10 X 40 X 1 | ER20 |  | 3 | AAF #223-21-10A40A
|  | Flat Panel | 10 X 44 X 1 | ER20 |  | 3 | AAF #223-21-10A44A
|  | Flat Panel | 21 1/2 X 21 1/2 X 1 | ER20 |  | 2 | AAF #223-21-21E21E
|  | Flat Panel | 11 3/4 X 18 X 1 | ER20 |  | 2 | AAF #223-21-11G18A
|  | Flat Panel | 12 3/4 X 27 3/4 X 1 | ER20 |  | 2 | AAF #223-21-12G27G
|  | Flat Panel | 14 X 33 X 1 | ER20 |  | 2 | AAF #223-21-14A33A
|  | Flat Panel | 16 X 21 1/2 X 1 | ER20 |  | 2 | AAF #223-21-16A21A
|  | Flat Panel | 18 X 22 X 1 | ER20 |  | 2 | AAF #223-21-17G21G
|  | Flat Panel | 24 X 30 X 1 | ER20 |  | 2 | AAF #223-750-251
|  | Flat Panel | 8 X 25 X 1 | ER20 |  | 2 | PRECISIONAIRE 11255.010825
|  | Flat Panel | 9 X 35 X 1 | ER20 |  | 2 | AAF #223-21-09A35A
|  | Flat Panel | 15 X 30 5/8 X 1 | ER20 |  | 1 | AAF #223-415-251
|  | Flat Panel | 19 X 24 X 1 | ER20 |  | 1 | AAF #223-21-19A24A
|  | Flat Panel | 7 3/4 X 37 1/2 X 1 | ER20 |  | 1 | AAF #223-21-07G37E
|  | Flat Panel | 8 1/2 X 21 X 1 | ER20 |  | 1 | AAF #223-21-08E21A
|  | Flat Panel | 8 X 43-3/4 X 1 | ER20 |  | 1 | AAF #223-21-08A43G
|  | Flat Panel | 9 3/4 X 27 1/2 X 1/2 |  |  | 1 | AAF #223-25-09G27E
|  | Flat Panel | 9 X 33 X 1 | ER20 |  | 1 | FLANDERS #10255.010933
FOAM FILTERS
|  | Foam Filters | 9.5 X 16 |  |  | 50 | 1/4" thickness
|  | Trim to Fit Foam Filter | 15 x 24 x 1/4 |  |  | 12
HEPA FILTERS
|  | HEPA | 24 X 24 X 12 |  | 18 | 8 | Flanders PRP95S2412H
|  | HEPA | 12 X 24 X 12 |  | 18 | 8 | Flanders PRP95S4412H
MINI PLEAT FILTERS
|  | Mini Pleat w/ Gasket, 3M | 24 X 24 X 2 |  | A11 | 36 |  | E712
|  | Mini Pleat w/ Gasket, 3M | 16 X 20 X 2 |  | A8 | 26 |  | E284
|  | Mini Pleat w/ Gasket, 3M | 12 X 24 X 2 |  | A8 | 25 |  | E279
|  | Mini Pleat w/ Gasket, 3M | 12 X 24 X 2 |  | A11 | 10 |  | E698
|  | Mini Pleat w/ Gasket, 3M | 16 X 24 X 2 |  | A8 | 10 |  | E285
|  | Mini Pleat w/ Gasket, 3M | 16 X 20 X 2 |  | A11 | 6 |  | E703
|  | Mini Pleat w/ Gasket, 3M | 20 X 20 X 2 |  | A13 | 4 |  | E689
|  | Mini Pleat w/ Gasket, 3M | 20 X 24 X 2 |  | A13 | 4 |  | E690
|  | Mini Pleat w/ Gasket, 3M | 20 X 20 X 2 |  | A8 | 4 |  | E290
|  | Mini Pleat w/ Gasket, 3M | 16 X 24 X 2 |  | A11 | 3 |  | E704
PLEATED FILTERS, DISPOSABLE
FIBER , SYNTHETIC, OR BLEND OF SYNTHETIC AND NATURAL FIBERS, COMMERCIAL GRADE, PERFORMANCE
RATING BASED ON ASHRAE52-76, EFFICIENCY 25%-30%, ARRESTANCE 90%-92%
PLEATED, EXTENDED SURFACE AREA, PANEL TYPE, MEDIA MAY BE GLASS, NATURAL
|  | Pleated | 18 X 18 X 1 |  | 8 | 91
|  | Pleated | 16 X 16 X 2 |  | 8 | 82
|  | Pleated | 16 x 20 x 4 |  | 8 | 74
|  | Pleated | 21 1/2 x 21 1/2 x 1 |  | 8 | 72
|  | Pleated | 18 X 24 X 4 |  | 11 | 70
|  | Pleated | 12 X 16 X 2 |  | 8 | 66
|  | Pleated | 15 x 20 x 2 |  | 8 | 48
|  | Pleated | 24 x 12 x 22 |  | 13 | 48
|  | Pleated | 20 x 22 x 1 |  | 8 | 48
|  | Pleated | 16 X 24 X 1 |  | 8 | 40
|  | Pleated | 18 X 30 X 2 |  | 8 | 39
|  | Pleated | 16 7/8 X 20 7/8 X 2 |  | 8 | 38
|  | Pleated | 24 X 36 X 2 |  | 8 | 35
|  | Pleated | 14-3/8 X 14-7/8 X 2 |  | 8 | 32
|  | Pleated | 20 X 23 X 1 | ER20 | 8 | 26
|  | Pleated | 16 X 27 X 1 |  | 8 | 25
|  | Pleated | 21-3/4 X 9-1/4 X 1 |  | 8 | 24
|  | Pleated | 25 X 20 X 2 |  | 8 | 24
|  | Pleated | 14 X 28 X 1 |  | 8 | 20
|  | Pleated | 20 X 30 X 2 |  | 8 | 20
|  | Pleated | 8 X 54 1/2 X 1 |  | 8 | 20
|  | Pleated | 10-7/8 X 14-3/8 X 2 |  | 8 | 16
|  | Pleated | 14 X 20 X 1 |  | 8 | 15
|  | Pleated | 24 X 12 X 2 |  | 8 | 15
|  | Pleated | 14 X 31 X 1 |  | 8 | 13
|  | Pleated | 10 x 39 3/4 x 1 |  | 8 | 12
|  | Pleated | 14 X 24 X 2 |  | 8 | 12
|  | Pleated | 19 3/4 x 33 1/2 x 1 |  | 8 | 12
|  | Pleated | 8 x 47 1/2 x 1 |  | 8 | 12
|  | Pleated | 8 X 63 X 1 |  | 8 | 12
|  | Pleated | 9 1/2 x 9 1/2 x 1 |  | 8 | 12
|  | Pleated | 15 x 20 x 1 |  | 8 | 12
|  | Pleated | 11 x 21 x 1 |  | 8 | 12
|  | Std Cap Pleated | 16 X 30 X 1 |  | 7 | 12
|  | Std Cap Pleated | 12 x 12 x 2 |  | 7 | 12
|  | Std Cap Pleated | 16 x 25 x 2 |  | 7 | 12
|  | Std Cap Pleated | 20 x 25 x 2 |  | 7 | 12
|  | Std Cap Pleated | 24 x 24 x 2 |  | 7 | 12
|  | Std Cap Pleated | 18 x 18 x 1 |  | 7 | 12
|  | Std Cap Pleated | 18 x 24 x 2 |  | 7 | 12
|  | Std Cap Pleated | 10 x 24 x 1 |  | 7 | 12
|  | Std Cap Pleated | 18 x 24 x 1 |  | 7 | 12
|  | Std Cap Pleated | 20 x 24 x 1 |  | 7 | 12
|  | Std Cap Pleated | 16 x 24 x 2 |  | 7 | 12
|  | Std Cap Pleated | 20 x 21 x 1 |  | 7 | 12
|  | Std Cap Pleated | 20 x 20 x 2 |  | 7 | 12
|  | Std Cap Pleated | 16 x 20 x 1 |  | 7 | 12
|  | Std Cap Pleated | 16 x 25 x 1 |  | 7 | 12
|  | Std Cap Pleated | 20 x 25 x 1 |  | 7 | 12
|  | Std Cap Pleated | 16 x 16 x 2 |  | 7 | 12
|  | Std Cap Pleated | 16 x 20 x 2 |  | 7 | 12
|  | Std Cap Pleated | 20 x 20 x 1 |  | 7 | 12
|  | Pleated | 10-1/4 X 20-7/8 X 2 |  | 8 | 10
|  | Pleated | 18 X 24 X 1 |  | 8 | 10
|  | Pleated | 28 1/2 X 29 1/2 X 2 |  | 8 | 9
|  | Pleated | 8 X 54 X 1 |  | 8 | 9
|  | Pleated | 12 X 38 X 1 |  | 8 | 8
|  | Pleated | 13-1/2 X 23-1/2 X 1 |  | 8 | 8
|  | Pleated | 16 X 16 X 1 |  | 8 | 8
|  | Pleated | 21-3/8 X 23-7/8 X 2 |  | 8 | 8
|  | Pleated | 7-3/4 X 65-3/4 X 1 |  | 8 | 7
|  | Pleated | 24 X 24 X 4 |  | 11 | 6
|  | Pleated | 7 3/4 X 19 3/4 X 1 |  | 8 | 6
|  | Pleated | 12 X 46 X 1 |  | 8 | 5
|  | Pleated | 8 X 41 X 1 |  | 8 | 4
|  | Pleated | 16 X 19 X 1 |  | 8 | 4
|  | Pleated | 17 X 18 X 1 |  | 8 | 4
|  | Pleated | 17 X 18 X 2 |  | 8 | 4
|  | Pleated | 17 X 20 X 1 |  | 8 | 4
|  | Pleated | 18 X 20 X 2 |  | 8 | 4
|  | Pleated | 19 X 21-3/4 X 1 |  | 8 | 4
|  | Pleated | 20 X 21-3/4 X 1 |  | 8 | 4
|  | Pleated | 20 X 27 X 1 |  | 8 | 4
|  | Pleated | 21 X 20 X 2 |  | 8 | 4
|  | Pleated | 22 X 20 X 2 |  | 8 | 4
|  | Pleated | 23-1/2 X 21-1/2 X 1 |  | 8 | 4
|  | Pleated | 8 X 37 X 1 |  | 8 | 4
|  | Pleated | 16 X 28 X 2 |  | 8 | 3
|  | Pleated | 16 X 28 X 4 |  | 8 | 2
|  | Pleated | 24 X 20 X 2 |  | 8 | 2
|  | Pleated | 25 X 29 X 4 |  | 11 | 2
|  | Pleated | 8 X 23 X 1 |  | 8 | 2
|  | Pleated | 14 X 25 X 2 |  | 8 | 1
|  | Pleated | 16 X 20 X 1 |  | 8 | 1
|  | Pleated | 17 X 40 X 1 |  | 8 | 1
|  | Pleated | 18 X 20 X 1 |  | 8 | 1
|  | Pleated | 20 X 30 X 1 |  | 8 | 1
|  | Pleated | 23 X 20 X 2 |  | 8 | 1
|  | Pleated | 24 X 20 X 2 |  | 8 | 1
V-BANK |  | V-Bank Filter w/ Gasket, 3M | 24 X 12 X 12 | E735 | A14 | 23
|  | V-Bank Filter w/ Gasket, 3M | 24 X 20 X 12 | E734 | A14 | 4
|  | V-Bank Filter w/ Gasket, 3M | 24 x 24 x 12 | E759 | A14 | 8
% Discount for additional (not listed) filters |  |  |  | %
State any additional discounts available for bulk purchases |  |  |  | %