## Sheet1
ITB17KO-110 Quick Response Annual Contract for Mechanical Contractors
LOT 2 - ST. AUGUSTINE
LIST OF UNIT PRICES
ITEM | DESCRIPTION (L = LABOR TO INSTALL/CONSTRUCT, M = MATERIALS) | UNIT | Dollars
1710 | CLEANING
1711 | STRIPPING OF VINYL FLOORING AND APPLICATION OF 3 COATS OF HIGH QUALITY COMMERCIAL FLOOR POLISH; L/M | S.F.
1712 | FINAL CLEANING PER SPECIFICATIONS | S.F.
1760 | CONSTRUCTION PROTECTION
1761 | TEMPORARY 2 X 4 AND ½” PAINTED PLYWOOD PARTITION; L/M | S.F.
1762 | ORANGE PLASTIC GRID BARRIER W/SUPPORT DEVISES; L/M | L.F.
1763 | GREEN FENCE | Each
1764 | BARRICADE PROTECTION | Each
2210 | DEMOLITION
2111 | TRASH REMOVAL ( TRANSPORTATION TO DUMP SITE ) | TON
2112 | DUMP FEES | TON
2125 | DEMOLITION OF RIGID GALV. STEEL DUCT, MAX. 12" X 18"; L/ | L.F.
2126 | DEMOLITION OF FLEXIBLE DUCT, MAX. 12" DIAM; L/ | L.F.
2127 | CHW PIPING AND INSULATION 4" | L.F.
2128 | CHW PIPING AND INSULATION 8" | L.F.
2129 | CHW PIPING AND INSULATION 10" | L.F.
15050 | BASIC MECHANICAL MATERIALS AND METHODS
PIPING COPPER FOR DX UNITS (PER FOOT)
15051 | 1/2" DIA – L | L.F.
15052 | 5/8" DIA – L | L.F.
15053 | 3/8" DIA – L | L.F.
PIPING INSULATION FOR ABOVE
15054 | 1/2" DIA – L | L.F.
15055 | 5/8" DIA – L | L.F.
15056 | 3/8" DIA – L | L.F.
15800 | AIR CONDITIONING DUCTWORK
METAL DUCTWORK FOR HVAC SYSTEM. GALVANIZED W/1" EXTERNAL INSULATION. ASPECT RATIO: 2; L/M CFM LBS/FT (Don't know what this indicate)
15801 | 1000 4.25 L/M | L.F.
15802 | 2500 6.50 L/M | L.F.
15803 | 5000 8.75 L/M | L.F.
15870 | AIR CONDITIONING DEVICES
15871 | SUPPLY DIFFUSER – PERFORATED FACE ALUM. IN 24” X 24” LAY-IN PANEL W/ ADJUST. DAMPER, METALAIRE PCS SERIES; L/M | EACH
15872 | RETURN GRILLE – PERFORATED FACE ALUM. IN 24” X 24” LAY-IN PANEL W/ADJUST. DAMPER, METALAIRE PCR SERIES; L/M | EACH
15873 | WINDOW UNIT W/ COOLING ONLY 8000 BTU | EACH
15874 | WINDOW UNIT W/ COOLING ONLY 12000 BTU | EACH
15875 | WINDOW UNIT W/ COOLING ONLY 24000 BTU | EACH
15876 | WINDOW UNIT W/ COOLING ONLY 28000 BTU | EACH
15900 | CONTROLS
15901 | RELOCATE THERMOSTAT - PNEUMATIC; L/M | L.F.
15902 | RELOCATE THERMOSTAT - ELECTRICALLY WIRED; L/M | L.F.
UNIT PRICE SUB-TOTAL
LIST OF UNIT PRICES
| LABOR | UNIT
ITEM | (PRIME CONTRACTOR)
0001 | CONTROLS TECHNICIAN | HOUR
0008 | JOURNEYMAN HVAC MECHANIC | HOUR
0009 | APPRENTICE HVAC MECHANIC | HOUR
0010 | HVAC TRDES HELPER | HOUR
UNIT PRICE SUB-TOTAL:
GRAND TOTAL: