## Unit Prices
ITB17KO-111 Quick Response Annual Contract for Electrical Contractors
LOT 2 - ST. AUGUSTINE
LIST OF UNIT PRICES
ITEM | DESCRIPTION (L = LABOR TO INSTALL/CONSTRUCT, M = MATERIALS) | UNIT | Dollars
1710 | CLEANING
1711 | STRIPPING OF VINYL FLOORING AND APPLICATION OF 3 COATS OF HIGH QUALITY COMMERCIAL FLOOR POLISH; L/M | S.F.
1712 | FINAL CLEANING PER SPECIFICATIONS | S.F.
1760 | INSTALLED CONSTRUCTION PROTECTION
1761 | TEMPORARY 2 X 4 AND ½” PAINTED PLYWOOD PARTITION; L/M | S.F.
1762 | ORANGE PLASTIC GRID BARRIER W/ SUPPORT DEVISES; L/M | L.F.
2210 | DEMOLITION
2111 | TRASH REMOVAL ( TRANSPORTATION TO DUMP SITE ) | TON
2112 | DUMP FEES | TON
2127 | DEMOLITION OF EXPOSED CONDUIT/WIREMOLD & WIRE; L/ | L.F.
2128 | REMOVAL OF 2' X 4' FLUORESCENT LIGHT FIXTURE FROM SUSP. ACOUST. CEIL'G; L/ | EACH
2129 | REMOVAL OF INCANDESC. LIGHT FIXTURE FROM PLASTER OR DRYWALL CEIL'G; L/ | EACH
13850 | DETECTION AND ALARM
13851 | RELOCATE EXISTING HEAT OR SMOKE DETECTOR ( WITHIN 15’ OF EXISTING LOCATION ), INCLUDING CERTIFICATION; L/M | EACH
13852 | SIMPLEX MAPNET II PHOTOELECTRIC SMOKE DETECTOR, INCLUDING CERTIFICATION; L/M | EACH
13853 | SIMPLEX RATE OF RISE HEAT DETECTOR, INCLUDING CERTIFICATION; L/M | EACH
13854 | COMBINATION HORN AND STROBE DEVICE, INCLUDING CERTIFICATION; L/M | EACH
15900 | CONTROLS
15901 | RELOCATE THERMOSTAT - PNEUMATIC L/M | L.F.
15902 | RELOCATE THERMOSTAT - ELECTRICALLY WIRED; L/M | L.F.
15903 | REPLACE EXISTING THERMOSTAT WITH JOHNSON T-4000; L - (Installation of appropriate device) | EACH
16120 | WIRE & CABLE
16121 | 1/2" E.M.T. IN NEW CONSTRUCTION; L/M | L.F.
16122 | 3/4" E.M.T. IN NEW CONSTRUCTION; L/M | L.F.
16123 | 1" E.M.T. IN NEW CONSTRUCTION; L/M | L.F.
16124 | #8 WIRE PULLED INTO CONDUIT; L/M | L.F.
16125 | #10 WIRE PULLED INTO CONDUIT; L/M | L.F.
16126 | #12 WIRE PULLED INTO CONDUIT; L/M | L.F.
16130 | OUTLET BOXES
16131 | SINGLE SWITCH/ OUTLET CONDUIT BOX WITH CONNECTION; L/M | EACH
16132 | DOUBLE SWITCH/OUTLET CONDUIT BOX WITH CONNECTION; L/M | EACH
16133 | ROUGH-IN ELECT. "J" BOX FOR LIGHT FIXTURE; L/M | EACH
16134 | ROUGH-IN ELECT. "J" BOX FOR ELECTRICAL JUNCTIONS; L/M | EACH
16135 | PLASTER RING IN 5/8” DRYWALL FOR DATA, PHONE OUTLET, SWITCH, ETC; L/M | EACH
16136 | 3/4" FLEXIBLE CONDUIT FROM ELECT. "J" BOX TO DEVICE BOX; L/M | EACH
16140 | SWITCHES AND RECEPTACLES
16141 | 1-WAY ELECTRICAL SWITCH IN WIREMOLD, SURFACE MOUNT BOX WITH COVER; L/M | EACH
16142 | 3-WAY ELECTRICAL SWITCH IN WIREMOLD, SURFACE MOUNT BOX WITH COVER; L/M | EACH
16143 | 1-WAY ELECTRICAL SWITCH IN EXISTING CONDUIT BOX W/ COVER; L/M | EACH
16144 | 3-WAY ELECTRICAL SWITCH IN EXISTING CONDUIT BOX W/ COVER; L/M | EACH
16145 | DUPLEX OUTLET IN WIREMOLD, SURFACE MOUNT BOX W/ COVER; L/M | EACH
16146 | QUADRUPLEX OUTLET IN WIREMOLD, SURFACE MOUNT BOX W/ COVER; L/M | EACH
16147 | DUPLEX OUTLET IN EXISTING CONDUIT BOX W/COVER; L/M | EACH
16148 | QUADRUPLEX OUTLET IN EXISTING CONDUIT BOX W/ COVER; L/M | EACH
16149 | SURFACE MOUNTED WIREMOLD RACEWAY; L/M (800 series) | L.F.
16150 | PANELBOARDS
16151 | 200 AMP 120/208 Volt Interior panelboard, 42 pole, Main Lugs Only, 3 Phase | EACH
16152 | 200 AMP 120/208 Volt Interior Disconnect Switch, 3 Pole, 3 Phase (Heavy Duty, Fused) | EACH
16153 | 200 AMP, 277/480 Volt Interior Disconnect Switch, 3 Pole, 3 Phase (Heavy Duty Fused) | EACH
16154 | 4" PVC U/G CONDUIT If trenched 24" | L.F.
16155 | 6" PVS U/G CONDUIT If trenched 36" | L.F.
16510 | LIGHTING FIXTURES
16511 | 12” X 48” RECESSED PARABOLIC FLUORESCENT FIXTURE W/ 1 T-8 LAMP & 6 CELLS, LITHONIA OR EQUAL; 120 OR 277 VOLT; L/M | EACH
16512 | 24” X 48” RECESSED PARABOLIC FLUORESCENT FIXTURE W/ 2 T-8 LAMPS & 12 CELLS, LITHONIA OR EQUAL; 120 OR 277 VOLT; L/M | EACH
16513 | 24” X 48” RECESSED PARABOLIC FLUORESCENT FIXTURE W/ 3 T-8 LAMPS & 18 CELLS, LITHONIA OR EQUAL; 120 OR 277 VOLT; L/M | EACH
16514 | 24” X 48” RECESSED PARABOLIC FLUORESCENT FIXTURE W/ 4 T-8 LAMPS & 24 CELLS, 2 BALLASTS, LITHONIA OR EQUAL; 120 OR 277 VOLT; L/M | EACH
16515 | 12” X 48” SURFACE MOUNT (ON GWB/PLASTER) PARABOLIC FLUORESCENT FIXTURE W/ 1 T-8 LAMP & 6 CELLS, LITHONIA OR EQUAL; 120 OR 277 VOLT; L/M | EACH
16516 | 24” X 48” SURFACE MOUNT (ON GWB/PLASTER) PARABOLIC FLUORESCENT FIXTURE W/ 2 T-8 LAMPS & 12 CELLS, LITHONIA OR EQUAL; 120 OR 277 VOLT; L/M | EACH
16517 | 24” X 48” SURFACE MOUNT (ON GWB/PLASTER) PARABOLIC FLUORESCENT FIXTURE W/ 3 T-8 LAMPS & 18 CELLS, LITHONIA OR EQUAL; 120 OR 277 VOLT; L/M
16518 | 24” X 48” SURFACE MOUNT (ON GWB/PLASTER) PARABOLIC FLUORESCENT FIXTURE W/ 4 T-8 LAMPS & 24 CELLS, 2 BALLASTS, LITHONIA OR EQUAL; 120 OR 277 VOLT; L/M | EACH
16519 | 12” X 48” SURFACE MOUNT (ON GWB/PLASTER) PRISMATIC FLUORESCENT FIXTURE W/ 1 T-8 LAMP, LITHONIA OR EQUAL; 120 OR 277 VOLT; L/M | EACH
16520 | 24” X 48” SURFACE MOUNT (ON GWB/PLASTER) PRISMATIC FLUORESCENT FIXTURE W/ 2 T-8 LAMPS, LITHONIA OR EQUAL; 120 OR 277 VOLT; L/M | EACH
16521 | 24” X 48” SURFACE MOUNT (ON GWB/PLASTER) PRISMATIC FLUORESCENT FIXTURE W/ 3 T-8 LAMPS, LITHONIA OR EQUAL; 120 OR 277 VOLT; L/M | EACH
16522 | 24” X 48” SURFACE MOUNT (ON GWB/PLASTER) PRISMATIC FLUORESCENT FIXTURE W/ 4 T-8 LAMPS, 2 BALLASTS, LITHONIA OR EQUAL; 120 OR 277 VOLT; L/M | EACH
16523 | 7" DIAM. RECESSED FLUORESCENT DOWNLIGHT W/ 2 - 9 WATT DL COMPACT FLUORESCENT LAMPS; L/M (Layin ceiling) | EACH
16524 | EXIT SIGN WITH VOLTAGE SURGE PROTECTOR, COMPUTER POWER, INC. "ILLUMINATOR - XD" SERIES; L/M | EACH
UNIT PRICE SUB-TOTAL:
NOTE; Specialty items or any items not included in the above list of UNIT PRICES shall be submitted in accordance with Section 01017 PROJECT ORDER SYSTEM and with Section 00800 entitled SUPPLEMENTARY CONDITIONS,
LIST OF UNIT PRICES - HOURLY LABOR
ITEM | HOURLY LABOR (ELECTRICAL CONTRACTOR) | UNIT
0001 | SUPERINTENDENT | HOUR
0002 | ELECTRICIAN | HOUR
0003 | ELECTRICIAN'S HELPER (APPRENTICE) | HOUR
0004 | LABORER | HOUR
UNIT PRICE SUB-TOTAL:
GRAND TOTAL: