## Unit Prices
ITB17KO-112 QUICK RESPONSE ANNUAL CONTRACT FOR PLUMBING
LOT 2 - ST. AUGUSTINE
LIST OF UNIT PRICES
ITEM | DESCRIPTION (L = LABOR TO INSTALL/CONSTRUCT, M = MATERIALS) | UNIT | DOLLARS
1710 | CLEANING
1712 | FINAL CLEANING PER SPECIFICATIONS | S.F.
1760 | INSTALLED CONSTRUCTION PROTECTION
1761 | TEMPORARY 2 X 4 AND ½” PAINTED PLYWOOD PARTITION; L/M | S.F.
2210 | DEMOLITION
2111 | TRASH REMOVAL ( TRANSPORTATION TO DUMP SITE ) | TON
2112 | DUMP FEES | TON
6652 | OVAL VITREOUS CHINA SINK, SELF RIMMING, UNDERMOUNTED IN COMPOSITE VANITY COUNTERTOP, EXCLUDING PLUMBING FIXTURES AND PIPING ( Kohler 20 x 17 self rimming ); L/M | EACH
15100 | PIPING (Assume Piping to be in plenum – not insulated)
15101 | 3/4" POLYPROPYLENE PIPING; L/M (DI Water) | L.F.
15102 | 1-1/2" POLYPROPYLENE PIPING; L/M (DI Water) | L.F.
15103 | 1-1/2" CAST IRON PIPING: L/M | L.F.
15104 | 1/2" TYPE "L" COPPER TUBING; L/M | L.F.
15105 | 3/4" TYPE "L" COPPER TUBING; L/M | L.F.
15106 | 1" TYPE "L" COPPER TUBING; L/M | L.F.
15300 | FIRE PROTECTION
15301 | RELOCATION OF FIRE SPRINKLER HEADS ( WITHIN 6' OF EXISTING LOCATIONS ); L/M | EACH
15302 | RELOCATION OF FIRST HEAD; L/M | EACH
15303 | RELOCATION OF EACH HEAD THEREAFTER; L/M | EACH
15400 | PLUMBING FIXTURES & TRIM
15401 | HOT & COLD WATER FAUCET: CHICAGO FAUCET #930 SINK FITTING W/ VACUUM BREAKER & E7 SERRATED NOZZLE; L/M | EACH
15402 | HOT & COLD WATER SUPPLIES: HICAGO FAUCET # 1006 STOP W/ #994 ANGLE VALVE; L/M | EACH
15403 | GAS, AIR, VAC. FITTINGS (DECK-MOUNTED, DOUBLE): KEWAUNEE # W-0266-00, OR CHICAGO FAUCET # 981-907; L/M | EACH
15404 | GAS, AIR VAC. FITTINGS (CURB-MOUNTED), DOUBLE: KEWAUNEE # W-0285-02, OR CHICAGO FAUCET # 987-907; L/M | EACH
15405 | ISOLATION VALVES: APOLLO #80-100 SERIES "YRPV"; L/M | EACH
15406 | EMERGENCY SHOWER AND EYE WASH: BRADLEY MODEL S19-310BF OR SPEAKMAN SE-690-WCH-AL3; L/M | EACH
15407 | RECESSED EMERGENCY SHOWER AND EYEWASH (IN 3-5/8" STEEL STUD WALL): GUARDIAN EQUIPMENT MODEL GBF2160; L/M | EACH
15408 | STAINLESS STEEL SINK (19" x 19"); ELKAY LR-1922 W/ ELKAY #LK-2223 FAUCET AND ELKAY #LK-335 STRAINER; L/M | EACH
15409 | STAINLESS STEEL SINK (16" X13-1/2" X 10"); ELKAY DLR-1919-10 W/ ELKAY #LK-2223 FAUCET AND ELKAY #LK-335 STRAINER; L/M | EACH
15410 | STAINLESS STEEL DOUBLE COMPARTMENT SINK (33" X 21" X 7-1/4"); ELKAY W/ ELKAY PSFR3321 W/ #LK811-AT08-L2 FAUCET W/ SPRAY AND #LK-335 STRAINERS; L/M | EACH
15411 | A.D.A. COMPLIANT WALL HUNG VITREOUS CHINA LAVATORY ( AMERICAN STANDARD “LUCERNE” OR EQUAL ), INCLUDING IN-WALL MOUNTING CHAIR AND EXCLUDING PLUMBING FIXTURES AND PIPING; L/M | EACH
15412 | A.D.A. COMPLIANT WALL HUNG VITREOUS CHINA FLUSH VALVE WATER CLOSET ( AMERICAN STANDARD OR EQUAL ), INCLUDING IN-WALL MOUNTING CHAIR AND EXCLUDING PLUMBING FIXTURES AND PIPING; L/M | EACH
15413 | A.D.A. COMPLIANT WALL HUNG VITREOUS CHINA URINAL ( AMERICAN STANDARD OR EQUAL ), INCLUDING IN-WALL MOUNTING CHAIR AND EXCLUDING PLUMBING FIXTURES AND PIPING; L/M | EACH
15414 | WATER COOLERS AND DRINKING FOUNTAINS
15414 | WALL HUNG WATER COOLER ( ELKAY “EBFSA 8” OR EQUAL ), NOT INCLUDING PLUMBING; L/M | EACH
UNIT PRICE SUB-TOTAL
NOTE; Specialty items or any items not included in the above list of UNIT PRICES shall be submitted in accordance with Section 01017 entitled PROJECT ORDER SYSTEM, and with Section 00800 entitled SUPPLEMENTARY CONDITIONS
LIST OF UNIT PRICES
| LABOR | UNIT
ITEM | (PRIME CONTRACTOR)
0001 | JOURNEYMAN PLUMBER | HOUR
0012 | APPRENTICE PLUMBER | HOUR
0013 | PLUMBER'S HELPER | HOUR
UNIT PRICE SCORE SUB-TOTAL:
GRAND TOTAL: