## Sheet1
ITB21KO-102 ATTACHMENT B (REVISED 9.28.2020)
DOOR # | DOOR TYPE | LEFT OR RIGHT HAND | IN OR OUT OPENING | HEIGHT OF ROUGH OPENING | WIDTH OF ROUGH OPENING | MULLON NEEDED | PANIC BARS NEEDED | HINGES | Mortise center | Hinge 1 | Hinge 2 | Hinge 3 | Prep for EPT, jams and doors | Door Closers | Light kit | NOTES
[6 empty] | keyed/Removable |  | Stainless steel hinges
1 | Double door |  | out | 80" | 75" | no | no | 4 1/2" | [5 empty] | Yes
2 | Single | Left | out | 83" | 52" | no | no | 4 1/2" | [5 empty] | Yes
3 | Single | Left | out | 82 1/4" | 40" | no | no | 4 1/2" | [5 empty] | Yes
4 | Door only, single | left | out | 80" | 39 1/8" | no | no | 4 1/2" | 40" | 5 1/8" | 35 1/8" | 65 1/8" |  | Yes
5 | Double door |  | out | 82 1/2" | 75 1/2" | Yes | 2 panic bars, one on each side | 4 1/2" |  |  |  |  | Yes | Yes | 7x27
6 | Double door |  | out | 88 1/2" | 71 5/8" | yes | no | 4 1/2" | [5 empty] | Yes
7 | Double door |  | out | 82" | 71 1/4" | no | no | 4 1/2" | [5 empty] | Yes |  | Internal head and toe bolts on inactive door
8 | Roll up door (not included in this solicitation) |  |  | 9 | 7
9 | Door only, single | Left | out | 79 1/8" | 35 3/4" | no | no | 4 1/2" | 38 1/2" | 6 5/8" | 37 5/8" | 68 5/8" |  | Yes
10 | Single | Left | In | 82" | 40" | no | no | 4 1/2" | [5 empty] | Yes
11 | Double door |  | out | 82 1/4" | 77" | yes | 2 panic bars, one on each side | 4 1/2" |  |  |  |  | Yes | Yes
12 | Single | right | out | 82 1/4" | 39 1/2" | no | 1 panic bar | 4 1/2" | [5 empty] | Yes
13 | Double door |  | out | 82" | 80 3/4" | yes | 2 panic bars, one on each side | 4 1/2" |  |  |  |  | Yes | Yes
14 | Single | right | out | 82 1/2" | 39 3/4" | no | 1 panic bar | 4 1/2" | [5 empty] | No
15 | Roll up door (not included in this solicitation) |  |  | 97" | 10'
All doors require new jams, unless noted "Door only"
Hurricane rated doors
All rough openings are concrete block construction
Awarded bidders will verify measurements prior to manufacture
Measurements are for bidding proposals only