## Sheet1
Attachment B: Technical Refresh of the University of Florida’s IBM Spectrum Protect Solution
All specifications marked with a [1] will be judged on a true/false basis for feature support. Specifications marked with a [2] will be judged based on the degree that the given specification exceeds the minimum. Degreed should be specified in comments. |  |  |  | TRUE
Requirements/Needs | [1] -True/False | [2] - Specification exceeds the minimum | Comments (Important to justify response) | FALSE
The following are required features:
1. Audit/Monitoring/Reporting
a. Audit user account actions including access, create, modify, and delete. [1]
b. Audit admin account actions including access, create, modify, and delete. [1]
c. Event monitoring alerts and notifications, supporting SNMP v2c, and v3, syslog, and SMTP, with configurable categories. [1]
d. Real time and historical performance and capacity statistics available at the system, cluster, domain, node, disk pool, tape drive, tape, and disk level. [1]
i. Retained for a minimum of one (1) month. [2]
e. All hardware reports real-time statistics and failures. [1]
2. Availability/Reliability |  |  | f
a. Zero service downtime when adding or removing capacity and hardware. [1]
b. Node Replication configured so that restores for downed primary site can begin immediately. [1]
c. Full Primary Datacenter/site disaster (data recovery)
i. Supports recovery point objective (RPO) as soon as 24 hours based on customer backup frequency. [1]
ii. Provide recovery time objective (RTO) of no more than 5 days. [1]
d. Full Primary site TSM server disaster (backup service recovery after hardware recovery)
i. Backup clients shall be able to resume backups in RTO of 5 days. [1]
e. Zero service downtime scheduled hardware and software maintenance. [1]
3. Capability
a. IBM Spectrum Protect Node Replication is the solution design. [1]
b. Linux x86 using RHEL for all server OS deployments. [1]
c. Client backups from the following:
i. Windows [1]
ii. Linux [1]
iii. MacOS/OSX [1]
iv. NAS platforms [1]
d. Source OS agnostic client restores. [1]
e. Chargeback functionality by node and domain. [1]
f. Primary Site Deployment shall be sized to handle all backup client ingest. [1]
g. Offsite Deployment shall be sized to support full restore of backups back to clients. [1]
h. Data at rest encryption (encryption at disk/volume/array level) [1]
i. Individual file/object restore from primary systems available from offsite as well. [1]
j. Verifiable data compression and deduplication claims. [1]
4. System Metrics
a. Daily Ingest rate the solution must meet (3 years of projected growth)
i. 52 TB average, 65 TB peak [2]
b. Backup and replication shall be completed within 24-hour window. [1]
c. Solution shall support growth of data ingest from solution target, within the 24-hour backup and replication window, by minimum of 20% per year during term of agreement and option years without rearchitecting or performance degradation. This translates to Projected Daily Ingest rate of:
i. 62 TB average, 78 TB peak in year 4. [2]
ii. 74 TB average, 93 TB peak in year 5. [2]
d. System must support system restores of 50 Gbps sustained (3 years of projected growth to meet RTO above). [2]
i. System shall support increased bandwidth requirement that scales with front end capacity growth, after year 3, during term and option years. [1]
5. Capacity/Scalability
a. 5 years of entitlement, maintenance and support for all hardware, software, and license components. [1]
b. Equivalent primary and secondary site performance and capacity. [1]
c. Capacity (3 years of projected growth):
i. Front End Usage: 2626 TB [2]
1. 30% of this number is for unmet NAS backup need.
ii. Solution shall support increasing capacity at primary and offsite locations from solution target by minimum of 20% year as needed during term and option years without re-architecting. [1]
iii. System performance must scale with additional capacity executed as needed during term of agreement and option years without re-architecting. [1]
d. Servers shall be fully licensed (for example, include HPE OneView license or equivalent). [1]
e. Local Storage shall be sized to ingest and store 365 days of backups. [2]
f. Ethernet connectivity shall be 25G+. [2]
g. Any SAN connectivity shall be 32G FC. [2]
h. For the cloud option, sizing and configuration must maintain equivalent functionality and performance. [1]
6. Security
a. All backup data encrypted at rest, using validated FIPS-140-2 standards. [1]
b. Separation of client access and system management network traffic. [1]
7. Support/Vendor
a. Supplied installation, configuration, and operations documentation. [1]
b. Vendor provides timely security alerts, advisories, and directives. [1]
c. Non-disruptive data migration between internal disks/arrays. [1]
d. 24x7 product support, with engineering response within thirty (30) minutes for severity 1 outages. [1]
e. Service personnel and parts on-site within 4 hours. [1]
These features are not required but are highly desired:
1. Audit/Monitoring/Reporting
a. Independent activation of auditing of admin and user actions. [1]
b. Any system components allowing authentication must also support authorization and accounting (AAA). [1]
c. Automated analytics and trending reports available at the system, array, node/cluster, tape drive, disk pool, tape, and volume/disk levels. Should be configurable and accessible via API (REST) for customer automation, preferably via RBAC roles. [2]
d. All hardware reports of statistics and failures retained for a minimum of one (1) month. [2]
2. Availability/Reliability
a. Automated configuration backup via a secure protocol (e.g., SFTP, SCP, FTPS, HTTPS) for disaster recovery purposes. [1]
b. Provide 99.99% availability. [2]
c. Provide 99.999999999% storage durability. [2]
3. Capability
a. Replication to at least one of the following cloud vendors: AWS, Azure, GCP. [2]
b. Hierarchical storage management (HSM) capability. [1]
c. Allow assignment of administrative roles via AD group membership and Shibboleth (SAML2) roles. [1]
d. Chargeback configuration and reporting available programmatically via REST or equivalent. [1]
4. Security
a. Configurable automated removal of temporary or emergency accounts. [1]
b. Diagnostic information encrypted in transit to vendor. [1]
c. Data must be irrecoverable on any replaced storage components. [1]
d. Configurable notification of suspected network-based attacks, and methods to address them. [1]
e. Supports DDNS, secure DDNS, and DNSSEC. [1]
f. Malicious software protection for system code. [1]
g. Malicious software detection and protection. [1]
h. Supports disabling unused features and protocols (e.g., SMBv1, NFSv2). [1]
i. Supports two-factor authentication for administrative accounts. [1]
5. Support/Vendor
a. Vendor provides support for client-performed firmware and OS updates, instead of requiring Professional Services, on-site Support Engineer, or Technical Support involvement. [1]
b. Vendor provides support for client-performed capacity additions (node, shelf, tape, disk add) without requiring vendor Professional Services, on-site Support Engineer or Technical Support involvement. (1)
c. In-cloud software updates communicated to UF Systems Administrators prior to implementation. [1]
d. Professional services available including engineering, configuration, and installation. [1]
e. Instructor-led training available. [1]
f. Vendor provides a 36-month technology roadmap. [1]
g. Vendor provides NIST Low hardening guide. [1]
h. Vendor provides runbook identifying specific install, configure, and operating instructions for this implementation. (1)